## Leveranceoversigt
| Leverancespecifikation for egenskaber | [6 empty] | Leveranceplan | [30 empty] | Tilgængelighed og ejerskab | [5 empty] | Egenskabens egenskaber
[8 empty] | [A03] Dispositionsforslag |  |  |  | [A04] Projektforslag |  |  |  | [A05] Myndighedsprojekt |  |  |  |  | [A06] Udbudsprojekt |  |  |  |  | [A7] Udførelsesprojekt |  |  |  | [A08] Udførelse |  |  |  | [A09] Aflevering, "som udført" | [12 empty] | Autodesk Revit
Kolonne3 | Aktiv / inaktiv | Kolonne32 | Egenskabsnavn | Beskrivelse | Eksempel | Enhed | Kolonne2 | Opstart af fase | Projektering | Granskning | [A03] Dispositionsforslag | Opstart af fase | Projektering | Granskning | [A04] Projektforslag | Opstart af fase | Projektering | Granskning | Myndighedsgodkendelse | [A05] Myndighedsprojekt | Opstart af fase | Projektering | Granskning | Udbud | [A06] Udbudsprojekt | Opstart af fase | … | … | [A07] Udførelsesprojekt | Opstart af fase | Modtagelse af materiale på pladsen | Opstart af commissionning | [A08] Udførelse | Granskning | Ibrugtagningstilladelse | Overdragelse | [A09] Aflevering, "som udført" | Kolonne4 | Fagmodel | Udvekslingsmodel (IFC) | Tilsyn- og mangel-registreringsplatform | Afleveringsplatform | Endelig ejerskab ved overdragelse | Kolonne5 | Forekomst / Type | Datatype | Parameternavn | GUID | Instance/Type | Group | Discipline | Type of Parameter | Autodesk Revit | Kolonne13
| Aktiv |  | Bruttoareal (planlagt) |  | 90 | m² |  | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Nummer | GrossPlannedArea | e46e7912-7254-467f-ab14-35fce14121bf | Instance | General | Common | Number | ●
| Aktiv |  | Bygningstype |  | Parkeringshus |  |  | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● | ● |  | Fagmodel |  | Forekomst | Tekst | BuildingType | fbd553d2-d080-43fc-9710-f87bbf20cf28 | Instance | Identity Data | Common | Text | ●
| Aktiv |  | Nettoareal (planlagt) |  | 84 | m² |  | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Nummer | NetPlannedArea | c0ec9d3b-f8f6-49b9-be1a-1a3ea965d058 | Instance | General | Common | Number | ●
| Aktiv |  | Rumfunktionsnummer |  |  |  |  | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● | ● |  | Fagmodel |  | Forekomst | Tekst | RoomFunctionNumber | fe11c6cf-09fc-4497-aeea-599b61a5560b | Instance | General | Common | Text | ●
| Aktiv |  | Rumnavns forkortelse | Ved angivelse af rumnavn på tegninger, kan der være behov for en forkortelse f.eks. Toilet = T |  |  |  | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Tekst | RoomNameAbbreviation | d0220a5f-e52a-42fe-bcff-f1c5ed19ace0 | Instance | General | Common | Text | ●
| Aktiv |  | Artikelnavn | Byg- eller driftherres kravstillelse til artikelnavn (BIM-objekter) |  |  |  | 2 | 2 | 2 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Type | Tekst | ArticleName[Type] | 75245903-7bd8-41ab-a00c-16d1e9fd0470 | Type | Identity Data | Common | Text | ●
| Aktiv |  | Artikelnummer | Byg- eller driftherres kravstillelse til artikelnummer (BIM-objekter) |  |  |  | 2 | 2 | 2 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Type | Tekst | ArticleNumber[Type] | 729c0816-cbd2-4a24-8c7e-222914fba5ea | Type | Identity Data | Common | Text | ●
| Aktiv |  | Brugerantal | Angiver antallet af personer (brugere) i det enkelte rum ved dagligt brug | 15 | stk. |  | 2 | 2 | 2 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Nummer | OccupancyNumber | cf76c980-d20a-11e1-8000-00215ad4efdf | Instance | General | Common | Number | ●
| Aktiv |  | Brugerantal (spidsbelastning) | Angiver antallet af personer (brugere) i det enkelte rum ved maksimal belasning. | 25 | stk. |  | 2 | 2 | 2 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Nummer | OccupancyNumberPeak | d4d41400-d20a-11e1-8000-00215ad4efdf | Instance | General | Common | Number | ●
| Aktiv |  | Rum ID |  | 1256 |  |  | 2 | 2 | 2 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Tekst | RoomID | e02290ca-8dc5-45af-b0a5-024a009e5686 | Instance | General | Common | Text | ●
| Aktiv |  | Afdelingsnavn | Angiver hvilken afdeling (afdelingsnavn) det enkelte rum har tilhørsforhold til. |  |  |  | 2 | 2 | 2 | ● | 2 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● | ● |  | Fagmodel |  | Forekomst | Tekst | DepartmentName | e3d11582-93d9-4bb5-a848-7731e800a0a7 | Instance | General | Common | Text | ●
| Aktiv |  | Afdelingsnummer | Angiver hvilken afdeling (afdelingsnummer) det enkelte rum har tilhørsforhold til. |  |  |  | 2 | 2 | 2 | ● | 2 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● | ● |  | Fagmodel |  | Forekomst | Tekst | DepartmentNumber | 8233dd62-af24-4b69-96a5-3a93f5fd9838 | Instance | General | Common | Text | ●
| Aktiv |  | Bygningsnummer |  | 92 eller 92A |  |  | 2 | 2 | 2 | ● | 2 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● | ● |  | Fagmodel |  | Forekomst | Tekst | BuildingNumber | 3d9f321f-697d-448d-80cf-ca8de03d5913 | Instance | Identity Data | Common | Text | ●
| Aktiv |  | Områdekategori |  |  |  |  | 2 | 2 | 2 | ● | 2 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● | ● |  | Fagmodel |  | Forekomst | Tekst | AreaCategory | 518e4ec2-4319-4442-a7d5-ae4ed8266eab | Instance | General | Common | Text | ●
| Aktiv |  | Rumfunktionskategori |  |  |  |  | 2 | 2 | 2 | ● | 2 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● | ● |  | Fagmodel |  | Forekomst | Tekst | RoomFunctionCategory | b2dcbcf4-8716-49c8-97c7-ccf26a09c233 | Instance | General | Common | Text | ●
| Aktiv |  | Er udvendig | Angiver om det enkelte rum eller bygningsdels er udvendig (til og med klimaskærmen inkl. døre og vinduer). | Ja/Nej |  |  |  | 2 | 2 | ● | 2 | 2 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Boolean | IsExternal | 28fecb30-be2a-40c6-9fb0-703be83c5e9f | Instance | IFC Parameters | Common | Yes/No | ●
| Aktiv |  | Klassekode | Udfyldes jf. IKT-klassifikation og identifikation | ABB |  |  |  | 2 | 2 | ● | 2 | 2 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● | ● |  | Fagmodel |  | Forekomst | Tekst | CCIClassCode | 0f6ba6d8-6845-4c6b-abd8-c60f4dd579e9 | Instance | Identity Data | Common | Text | ●
| Aktiv |  | Klassekode | Udfyldes jf. IKT-klassifikation og identifikation | QQC |  |  |  | 2 | 2 | ● | 2 | 2 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  | ● | Fagmodel |  | Type | Tekst | CCIClassCode[Type] | 6d549196-15ec-4f3b-8b66-6adecb853720 | Type | Identity Data | Common | Text | ●
| Aktiv |  | Klassekode for aktuel anvendelse | Udfyldes jf. IKT-klassifikation og identifikation | [B]ABB |  |  |  | 2 | 2 | ● | 2 | 2 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Tekst | CCIActualUseClassCode | d9572b84-1e49-40e3-8599-0c3be1ea8178 | Instance | Identity Data | Common | Text | ●
| Aktiv |  | Klassekode for designet anvendelse | Udfyldes jf. IKT-klassifikation og identifikation | [B]ABA |  |  |  | 2 | 2 | ● | 2 | 2 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Tekst | CCIDesignedUseClassCode | 77c57b09-eb63-4d6f-bf77-a219a6d85868 | Instance | Identity Data | Common | Text | ●
| Aktiv |  | Klassenavn | Udfyldes jf. IKT-klassifikation og identifikation | Toilet |  |  |  | 2 | 2 | ● | 2 | 2 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● | ● |  | Fagmodel |  | Forekomst | Tekst | CCIClassName | 57f774c2-2d4c-4ab7-94d1-f0373ec813e5 | Instance | Identity Data | Common | Text | ●
| Aktiv |  | Klassenavn | Udfyldes jf. IKT-klassifikation og identifikation | Dør |  |  |  | 2 | 2 | ● | 2 | 2 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  | ● | Fagmodel |  | Type | Tekst | CCIClassName[Type] | 21c6c521-38d7-4f1d-9393-444cb86f317f | Type | Identity Data | Common | Text | ●
| Aktiv |  | Klassenavn for aktuel anvendelse | Udfyldes jf. IKT-klassifikation og identifikation | Værelse |  |  |  | 2 | 2 | ● | 2 | 2 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Tekst | CCIActualUseName | 599293aa-55d6-4d5e-8012-a5000a5926d7 | Instance | Identity Data | Common | Text | ●
| Aktiv |  | Klassenavn for designet anvendelse | Udfyldes jf. IKT-klassifikation og identifikation | Badeværelse |  |  |  | 2 | 2 | ● | 2 | 2 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Tekst | CCIDesignedUseName | 90031824-e6cb-4819-be83-d7b395775f6f | Instance | Identity Data | Common | Text | ●
| Aktiv |  | Klassifikation | Udfyldes jf. IKT-klassifikation og identifikation | [CCI][B]ABB:Toilet |  |  |  | 2 | 2 | ● | 2 | 2 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Tekst | CCIClassification | e247fa6f-6807-4b33-883a-9ee43456f181 | Instance | IFC Parameters | Common | Text | ●
| Aktiv |  | Klassifikation | Udfyldes jf. IKT-klassifikation og identifikation | [CCI][L]QQC620 |  |  |  | 2 | 2 | ● | 2 | 2 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● | ● | ● | Fagmodel |  | Type | Tekst | CCIClassification[Type] | 7551964b-5d10-4afd-8417-1c8ce4d33f72 | Type | IFC Parameters | Common | Text | ●
| Aktiv |  | Klassifikationskode version | Udfyldes jf. IKT-klassifikation og identifikation | R1 |  |  |  | 2 | 2 | ● | 2 | 2 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Tekst | CCIClassCodeVersion | 686ca9bc-63a9-4c41-8378-c56c6069b8a9 | Instance | Identity Data | Common | Text | ●
| Aktiv |  | Klassifikationskode version | Udfyldes jf. IKT-klassifikation og identifikation | R1 |  |  |  | 2 | 2 | ● | 2 | 2 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Type | Tekst | CCIClassCodeVersion[Type] | 0fea5796-4f69-44dc-a4b9-72342154803f | Type | Identity Data | Common | Text | ●
| Aktiv |  | Topnode | Udfyldes jf. IKT-klassifikation og identifikation | [B] |  |  |  | 2 | 2 | ● | 2 | 2 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Tekst | CCITopnode | 0cf3bdf3-f0e2-4904-af36-5ee007122381 | Instance | Identity Data | Common | Text | ●
| Aktiv |  | Topnode | Udfyldes jf. IKT-klassifikation og identifikation | [L] |  |  |  | 2 | 2 | ● | 2 | 2 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Type | Tekst | CCITopnode[Type] | 7c094af8-b727-470e-afba-24c73ffe49c7 | Type | Identity Data | Common | Text | ●
| Aktiv |  | Adgangskontrol | Angiver om der er adgangskontrol (ADK) til rum og på bygningsdele som f.eks. døre og porte. | Ja/Nej |  |  |  | 2 | 2 | ● | 2 | 2 | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Boolean | AccessControl | 3753f8aa-9227-4ff3-bdb2-c9964592719f | Instance | IFC Parameters | Common | Yes/No | ●
| Aktiv |  | Flugtvej/Redningsåbning | Angiver om det enkelte rum bruges som flugtvej eller på bygningsdele som f.eks. døre, vinduer og porte, hvor det angives om det bruges til flugtvej eller redningsåbning, | Ja/Nej |  |  |  | 2 | 2 | ● | 2 | 2 | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Boolean | FireExit | 005dfb00-d219-11e1-8000-00215ad4efdf | Instance | IFC Parameters | Common | Yes/No | ●
| Aktiv |  | Handicap tilgængelig | Angiver om det enkelte rum kan bruges til handikappede og på bygningsdele som f.eks. døre, hvor det angives om døren overholder adgangskrav til handikappede. | Ja/Nej |  |  |  | 2 | 2 | ● | 2 | 2 | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Boolean | HandicapAccessible | 516def00-d219-11e1-8000-00215ad4efdf | Instance | IFC Parameters | Common | Yes/No | ●
| Aktiv |  | Offentlig tilgængelig | Angiver om det enkelte rum kan bruges af offentligheden og på bygningsdele som f.eks. døre, hvor det angives om døren bruges i forbindelse med et rum for offentligheden f.eks. til et offentligt toilet. | Ja/Nej |  |  |  | 2 | 2 | ● | 2 | 2 | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Boolean | PubliclyAccessible | 4a46e100-d219-11e1-8000-00215ad4efdf | Instance | IFC Parameters | Common | Yes/No | ●
| Aktiv |  | Skridsikker overflade | Angiver om den enkelte gulvtype har en skridsikker overflade. | Ja/Nej |  |  |  | 2 | 2 | ● | 2 | 2 | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Boolean | HasNonSkidSurface | 29788e80-d20d-11e1-8000-00215ad4efdf | Instance | IFC Parameters | Common | Yes/No | ●
| Aktiv |  | Automatisk Branddørslukning | Angiver om den enkelte dør har ABDL | Ja/Nej | [6 empty] | 2 | 2 | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Boolean | ABDL | 5e8d3880-3d40-410c-b0be-7e0ce00851a1 | Instance | IFC Parameters | Common | Yes/No | ●
| Aktiv |  | Automatisk Branddørsåbning | Angiver om den enkelte dør har ABDÅ | Ja/Nej | [6 empty] | 2 | 2 | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Boolean | ABDÅ | 65631e2c-85cc-440b-a1c6-3990070ea721 | Instance | IFC Parameters | Common | Yes/No | ●
| Aktiv |  | Brandadskillende (krav) | Krav til at f.eks. vægtypen skal være brandadskillende eller ikke. Angives med ja eller nej. | Ja/Nej | [6 empty] | 2 | 2 | 2 | ● | 2 | 2 | 2 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Boolean | Compartmentation_Req | f981b900-d215-11e1-8000-00215ad4efdf | Instance | IFC Parameters | Common | Yes/No | ●
| Aktiv |  | Brandklasse (krav) | Krav til brandklassen af f.eks. vægtypen. | REI 60 | [6 empty] | 2 | 2 | 2 | ● | 2 | 2 | 2 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Tekst | FireRating_Req | bffe7d00-d218-11e1-8000-00215ad4efdf | Instance | IFC Parameters | Common | Text | ●
| Aktiv |  | Brændbar(e) materialer (krav) | Krav til at f.eks. vægtypen må eller ikke må indeholde brændbare materialer. Angives med ja eller nej. | Ja/Nej | [6 empty] | 2 | 2 | 2 | ● | 2 | 2 | 2 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Boolean | Combustible_Req | cfc89200-d215-11e1-8000-00215ad4efdf | Instance | IFC Parameters | Common | Yes/No | ●
| Aktiv |  | Eksponeringsklasse (Miljøklasse) | Projektets eksponeringsklasse (miljøklasse) | XC2 | [6 empty] | 2 | 2 | 2 | ● | 2 | 2 | 2 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Tekst | ExposureClass | 9bee0bf7-2ad3-4a66-bef5-7b71b7ca175b | Instance | IFC Parameters | Common | Text | ●
| Aktiv |  | Flammespredning på overflade (krav) | Krav til brandklassen for overfladen af f.eks. vægtypen. | A2-s1,d0 | [6 empty] | 2 | 2 | 2 | ● | 2 | 2 | 2 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Tekst | SurfaceSpreadOfFlame_Req | d6570980-d215-11e1-8000-00215ad4efdf | Instance | IFC Parameters | Common | Text | ●
| Aktiv |  | Konstruktionsklasse | Projektets konstruktionsklasse | K1 | [6 empty] | 2 | 2 | 2 | ● | 2 | 2 | 2 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Tekst | StructuralClass | 84899180-d1cb-11e1-8000-00215ad4efdf | Instance | IFC Parameters | Common | Text | ●
| Aktiv |  | Lastbærende | Angiver om den enkelte bygningsdel er bærende (ja) eller ikke bærende (nej) | Ja/Nej | [6 empty] | 2 | 2 | 2 | ● | 2 | 2 | 2 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Boolean | LoadBearing | f1c21480-d215-11e1-8000-00215ad4efdf | Instance | IFC Parameters | Common | Yes/No | ●
| Aktiv |  | Luftlydsisolering (krav) | Krav til f.eks. vægtypens krav til luftlydsisolering jf. bygningsrelementet eller bæredygtigheds-certificeringsordningen. | 40 | dB | [5 empty] | 2 | 2 | 2 | ● | 2 | 2 | 2 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Nummer | SoundTransmissionClass_Req | 5cd61e04-b969-4fc1-ad13-65a9e136c46a | Instance | IFC Parameters | Common | Number | ●
| Aktiv |  | Risikoklasse |  | 1 – 4 | [6 empty] | 2 | 2 | 2 | ● | 2 | 2 | 2 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Tekst | FireRiskFactor | 33988e00-d209-11e1-8000-00215ad4efdf | Instance | IFC Parameters | Common | Text | ●
| Aktiv |  | Røgstop |  | Ja/Nej | [6 empty] | 2 | 2 | 2 | ● | 2 | 2 | 2 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Boolean | SmokeStop | f9cf8380-d218-11e1-8000-00215ad4efdf | Instance | IFC Parameters | Common | Yes/No | ●
| Aktiv |  | Trinlydsisolering (krav) | Krav til f.eks. vægtypens krav til trinlydsisolering jf. bygningsrelementet eller bæredygtigheds-certificeringsordningen. | 52 | dB | [5 empty] | 2 | 2 | 2 | ● | 2 | 2 | 2 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Nummer | ImpactInsulationClass_Req | b9a3a8f0-6739-40eb-85da-7e821c7a2f8d | Instance | IFC Parameters | Common | Number | ●
| Aktiv |  | U-værdi (krav) | Krav til f.eks. vægtypens krav til U-værdi/linjetab jf. bygningsrelementet eller bæredygtigheds-certificeringsordningen. | 0.15 | W/(m²K) | [5 empty] | 2 | 2 | 2 | ● | 2 | 2 | 2 | 3 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Nummer | ThermalTransmittance_Req | d86e9780-d218-11e1-8000-00215ad4efdf | Instance | IFC Parameters | Energy | Thermal Resistance | ●
| Aktiv |  | Geografisk rumnummer | Rummets geografiske rumnummer kan f.eks. indeholde bygnings-, etage- og rumnummer. | [7 empty] | 2 | 2 | 2 | ● | 2 | 2 | 2 | 2 | ● | 3 | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● | ● |  | Fagmodel |  | Forekomst | Tekst | GeographicalRoomNumber | 65c69e30-17a7-406f-b708-f2b7851029d0 | Instance | General | Common | Text | ●
| Aktiv |  | Brandadskillende | Er f.eks. vægtypen opbygget med materialer som gør at vægen kan bruges til brandadskillelse. Angives med ja eller nej. | Ja/Nej | [6 empty] | 2 | 2 | 2 | ● | 2 | 2 | 2 | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Type | Boolean | Compartmentation[Type] | 454282c6-76a2-4869-8161-febb3fa11cff | Type | IFC Parameters | Common | Yes/No | ●
| Aktiv |  | Brandklasse | Den beregnet brandklasse af f.eks. vægtypen. | REI 60 | [6 empty] | 2 | 2 | 2 | ● | 2 | 2 | 2 | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Type | Tekst | FireRating[Type] | e1804f65-2aed-4d4f-b885-09688b779399 | Type | IFC Parameters | Common | Text | ●
| Aktiv |  | Brændbar(e) materialer | Indeholder f.eks. vægtypen brændbare materialer. Angives med ja eller nej. | Ja/Nej | [6 empty] | 2 | 2 | 2 | ● | 2 | 2 | 2 | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Type | Boolean | Combustible[Type] | 1e9983d0-fefb-4849-8742-634a34ad99ea | Type | IFC Parameters | Common | Yes/No | ●
| Aktiv |  | Flammespredning på overflade | Den beregnet brandklasse for overfladen af f.eks. vægtypen. | A2-s1,d0 | [6 empty] | 2 | 2 | 2 | ● | 2 | 2 | 2 | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Type | Tekst | SurfaceSpreadOfFlame[Type] | 2c7184d9-f956-4d54-8895-bd8a752430aa | Type | IFC Parameters | Common | Text | ●
| Aktiv |  | Byggeplads | Byggepladsbetegnelse angives her; C=Construction, S=Site, A=angivelse af Zone nr. f.eks. A, B og C mv. | CSA | [10 empty] | 2 | 2 | 2 | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● | ● |  | Fagmodel |  | Forekomst | Tekst | ConstructionSite | 8ef51de5-26f1-4874-86df-289ad474d9bc | Instance | Model Properties | Common | Text | ●
| Aktiv |  | Byggepladszone |  | CSA1 | [10 empty] | 2 | 2 | 2 | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● | ● |  | Fagmodel |  | Forekomst | Tekst | ConstructionSiteZone | 159bfcd1-3700-445c-9324-8580138d113e | Instance | Model Properties | Common | Text | ●
| Aktiv |  | Blyækvivalent | Angiver den beregnet blyækvivalent som er brugt ved f.eks. en væg. | 0.35 | mm | [12 empty] | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  | ● | Fagmodel |  | Type | Nummer | LeadEquivalent[Type] | 1ff43f7f-0906-45e1-bbe3-ad0b769d0dae | Type | IFC Parameters | Common | Number | ●
| Aktiv |  | Hovedtype-ID | Udfyldes jf. IKT-klassifikation og identifikation | [B]%ABB120 | [13 empty] | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Tekst | CCIMainTypeID | 213ef49a-9a4a-4de2-b6d3-26946cfa624d | Instance | Identity Data | Common | Text | ●
| Aktiv |  | Hovedtype-ID | Udfyldes jf. IKT-klassifikation og identifikation | [L]%QQD620 | [13 empty] | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Type | Tekst | CCIMainTypeID[Type] | ae3ca671-5aa2-480b-b382-12797668c94a | Type | Identity Data | Common | Text | ●
| Aktiv |  | Hovedtypenavn | Udfyldes jf. IKT-klassifikation og identifikation | Offentligt Toilet, Handikap | [13 empty] | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Tekst | CCIMainTypeName | 1e209e64-ab7c-4131-8560-3fbc9b87ff9c | Instance | Identity Data | Common | Text | ●
| Aktiv |  | Hovedtypenavn | Udfyldes jf. IKT-klassifikation og identifikation | Skydedør, Dobbeltrettet | [13 empty] | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Type | Tekst | CCIMainTypeName[Type] | 146eb105-4308-410c-8dae-c87fcc337bd3 | Type | Identity Data | Common | Text | ●
| Aktiv |  | Luftlydsisolering | Angiver den beregnet luftlydsisolering for f.eks. en væg. | 40 | dB | [12 empty] | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  | ● | Fagmodel |  | Type | Nummer | SoundTransmissionClass[Type] | f26f303a-af5a-4ec6-9460-731b574c5d14 | Type | IFC Parameters | Common | Number | ●
| Aktiv |  | Produkt-ID | Udfyldes jf. IKT-klassifikation og identifikation | [L]#ABB0125 | [13 empty] | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● | ● |  | Fagmodel |  | Forekomst | Tekst | CCISingleLevelID | 0a80afbb-1079-47bb-8a65-94a3442ffd4f | Instance | Identity Data | Common | Text | ●
| Aktiv |  | Trinlydsisolering | Angiver den beregnet trinlydsisolering for f.eks. en væg. | 52 | dB | [12 empty] | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  | ● | Fagmodel |  | Type | Nummer | ImpactInsulationClass[Type] | 3d3573a6-d92c-43f0-8df3-a3c1c589a56b | Type | IFC Parameters | Common | Number | ●
| Aktiv |  | Type-ID | Udfyldes jf. IKT-klassifikation og identifikation | [L]%AD120.001 | [13 empty] | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● | ● |  | Fagmodel |  | Forekomst | Tekst | CCITypeID | 894147ea-6ebe-4361-b732-680bce908ade | Instance | Identity Data | Common | Text | ●
| Aktiv |  | Type-ID | Udfyldes jf. IKT-klassifikation og identifikation | [L]%QQD620.001 | [13 empty] | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  | ● | Fagmodel |  | Type | Tekst | CCITypeID[Type] | 39a6cda6-b574-4424-8a83-558298a7dff8 | Type | Identity Data | Common | Text | ●
| Aktiv |  | Typenavn | Udfyldes jf. IKT-klassifikation og identifikation | Offentligt Toilet, Handikap, Type 1 | [13 empty] | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● | ● |  | Fagmodel |  | Forekomst | Tekst | CCITypeName | 2b31d3e9-673f-4caf-9d2f-6e89632758dc | Instance | Identity Data | Common | Text | ●
| Aktiv |  | Typenavn | Udfyldes jf. IKT-klassifikation og identifikation | Skydedør, Dobbeltrettet, 20x22M | [13 empty] | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  | ● | Fagmodel |  | Type | Tekst | CCITypeName[Type] | e3fdc619-cbb2-4b42-a819-63fb185aa4cf | Type | Identity Data | Common | Text | ●
| Aktiv |  | Undertype-ID | Udfyldes jf. IKT-klassifikation og identifikation | 001 | [13 empty] | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Tekst | CCISubTypeID | 3e10a399-bede-4207-9852-eca0b3099d58 | Instance | Identity Data | Common | Text | ●
| Aktiv |  | Undertype-ID | Udfyldes jf. IKT-klassifikation og identifikation | 001 | [13 empty] | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Type | Tekst | CCISubTypeID[Type] | 3d3e2412-1370-4566-82f5-1d03e912683c | Type | Identity Data | Common | Text | ●
| Aktiv |  | Undertypenavn | Udfyldes jf. IKT-klassifikation og identifikation | Type 1 | [13 empty] | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Tekst | CCISubTypeName | 60209066-6fab-48f7-83cb-73ec1474fe1e | Instance | Identity Data | Common | Text | ●
| Aktiv |  | Undertypenavn | Udfyldes jf. IKT-klassifikation og identifikation | 10x21M | [13 empty] | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Type | Tekst | CCISubTypeName[Type] | 960cadb7-677b-4921-80cc-9a1dba4ea2c7 | Type | Identity Data | Common | Text | ●
| Aktiv |  | U-værdi | Angiver den beregnet U-værdi/linjetab for f.eks. en væg. | 0.1 | W/(m²K) | [12 empty] | 2 | ● | 2 | 2 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  | ● | Fagmodel |  | Type | Nummer | ThermalTransmittance[Type] | 017b73a5-5115-4e54-807d-1909ec7bb263 | Type | IFC Parameters | Energy | Thermal Resistance | ●
| Aktiv |  | Anskaffelsesdato | Angiver den dato hvor materialet er modtaget på pladsen | 2021-11-01 | [25 empty] | 3 | 3 | ● | 3 | 3 | 3 | ● |  |  |  |  | ● | Afleveringsplatform |  | Forekomst | Tekst | ProcurementDate | 7e83bdfc-0116-4891-830c-66f82a14ec80 | Instance | #N/A | Common | Text
| Aktiv |  | Globalt varenummer (GTIN-/GS1 nummer) | Angiver stregkodenummer som bruges i forbindelse med genbestilling af materiale. | [26 empty] | 3 | 3 | ● | 3 | 3 | 3 | ● |  |  |  |  | ● | Afleveringsplatform |  | Type | Tekst | GlobalTradeItemNumber[Type] | c32fc0f2-7064-450e-8bd0-c93b1365add1 | Type | #N/A | Common | Text
| Aktiv |  | Modelnummer | Modelnummer på fast-, løst og teknisk inventar/-udstyr | [26 empty] | 3 | 3 | ● | 3 | 3 | 3 | ● |  |  |  |  | ● | Afleveringsplatform |  | Type | Tekst | ModelNumber[Type] | 70ec8e30-5115-4803-a6ff-3bee75100e53 | Type | Data | Common | Text
| Aktiv |  | Producent | Angiver producenten af produktet. | [26 empty] | 3 | 3 | ● | 3 | 3 | 3 | ● |  |  |  |  | ● | Afleveringsplatform |  | Type | Tekst | Producer[Type] | eb413c55-57a3-46ac-8b38-b88aa2489983 | Type | Data | Common | Text
| Aktiv |  | Produktnavn | Angiver produktnavn på den enkelte bygnings- eller anlægsdel | [26 empty] | 3 | 3 | ● | 3 | 3 | 3 | ● |  |  |  |  | ● | Afleveringsplatform |  | Type | Tekst | ProductName[Type] | 52becdf7-cc45-41b5-8a1f-b054930e7457 | Type | Data | Common | Text
| Aktiv |  | Produktnummer | Angiver produktnummer på den enkelte bygnings- eller anlægsdel. | [26 empty] | 3 | 3 | ● | 3 | 3 | 3 | ● |  |  |  |  | ● | Afleveringsplatform |  | Type | Tekst | ProductNumber[Type] | 424e8936-52ba-48f1-9fae-c34ab87b7bee | Type | Data | Common | Text
| Aktiv |  | Serienummer |  | F89DFLJL3JOLJ | [25 empty] | 3 | 3 | ● | 3 | 3 | 3 | ● |  |  |  |  | ● | Afleveringsplatform |  | Forekomst | Tekst | SerialNumber | 48b6f200-d1f4-11e1-8000-00215ad4efdf | Instance | Data | Common | Text
| Aktiv |  | Funktions-ID | Udfyldes jf. IKT-klassifikation og identifikation | [27 empty] | 3 | ● | 3 | 3 | 3 | ● |  | ● | ● |  |  | Fagmodel |  | Forekomst | Tekst | CCIFunctionalID | 74cf7b11-6c39-4a95-886e-898af5c2fc8e | Instance | Identity Data | Common | Text | ●
| Aktiv |  | Installationsdato | Udfyldes jf. IKT-klassifikation og identifikation | 2021-11-01 | [26 empty] | 3 | ● | 3 | 3 | 3 | ● |  |  |  |  | ● | Afleveringsplatform |  | Forekomst | Tekst | InstallationDate | df372c6b-2edd-471b-b05b-1a9b6f228415 | Instance | #N/A |  | Text
| Aktiv |  | Garanti slutdato | Angiver dagen hvor garantiperioden starter. | 2024-12-01 | [26 empty] | 2 | ● | 3 | 3 | 3 | ● |  |  |  |  | ● | Afleveringsplatform |  | Forekomst | Tekst | WarrantyEndDate | 14542d80-d216-11e1-8000-00215ad4efdf | Instance | #N/A |  | Text
| Aktiv |  | Garanti startdato | Angiver dagen hvor garantiperioden slutter. | 2021-12-01 | [26 empty] | 2 | ● | 3 | 3 | 3 | ● |  |  |  |  | ● | Afleveringsplatform |  | Forekomst | Tekst | WarrantyStartDate | 0ef6e300-d216-11e1-8000-00215ad4efdf | Instance | #N/A |  | Text
| Aktiv |  | Garantiperiode | Angiver garantiperiodens længde fra start til slut. | 3 | år | [25 empty] | 2 | ● | 3 | 3 | 3 | ● |  |  |  |  | ● | Afleveringsplatform |  | Forekomst | Nummer | WarrantyPeriod | 20d88600-d216-11e1-8000-00215ad4efdf | Instance | #N/A |  | Number
| Aktiv |  | Drift- og vedligeholdelses startsdato | Angiver startdatoen for den enkelte driftopgave. | 2022-01-01 | [28 empty] | 3 | 3 | 3 | ● |  |  |  |  | ● | Afleveringsplatform |  | Type |  |  |  | Type | #N/A
| Aktiv |  | Drift- og vedligeholdelsesbeskrivelse | Angiver en beskrivelse af den enkelte driftopgave. | Vindue skal udskiftes | [28 empty] | 3 | 3 | 3 | ● |  |  |  |  | ● | Afleveringsplatform |  | Type |  |  |  | Type | #N/A
| Aktiv |  | Drift- og vedligeholdelsesinterval | Interval angives i dage, uger, måneder eller år, med et antal x mellem driftopgaven | 2 | uge | [27 empty] | 3 | 3 | 3 | ● |  |  |  |  | ● | Afleveringsplatform |  | Type | Tekst | IntervalOfMaintenance[Type] | bb86271a-df3b-4af0-884b-9ca90431945c | Type | #N/A |  | Text
| Aktiv |  | Drift- og vedligeholdelsesnavn | Angiver navnet for den enkelte driftopgave. | Udskiftning af vindue | [28 empty] | 3 | 3 | 3 | ● |  |  |  |  | ● | Afleveringsplatform |  | Type |  |  |  | Type | #N/A
| Aktiv |  | Systemnøglenummer | Angiver hvilket systemnøglenummer der tilhører den enkelte dør. | [29 empty] | 3 | 3 | 3 | ● |  | ● |  |  | ● | Afleveringsplatform |  | Forekomst | Tekst | SystemKeyNumber | 6ba0ebbb-d425-4bae-a013-152f44bb527a | Instance | Data | Common | Text | ●
| Inaktiv |  | Placerings-ID | Udfyldes jf. IKT-klassifikation og identifikation | [34 empty] | ● | ● |  |  | Fagmodel |  | Forekomst | Tekst | CCILocationID | 0f61c9bf-c5c0-4c3f-82c7-dd4c9a1226a7 | Instance |  |  |  | ●
| Inaktiv |  | Placeringsnavn | Udfyldes jf. IKT-klassifikation og identifikation | [34 empty] | ● | ● |  |  | Fagmodel |  | Forekomst | Tekst | CCILocationName | 56080b8d-be61-4f44-a931-bc9f7a33fd0c | Instance |  |  |  | ●
| Inaktiv |  | Sammensat placerings-ID | Udfyldes jf. IKT-klassifikation og identifikation | [34 empty] | ● | ● |  |  | Fagmodel |  | Forekomst | Tekst | CCIMultiLevelLocationID | c81997a7-d8e1-4923-8313-fa19d45bcd3e | Instance |  |  |  | ●
| Inaktiv |  | Sammensat produkt-ID | Udfyldes jf. IKT-klassifikation og identifikation | [34 empty] | ● | ● |  |  | Fagmodel |  | Forekomst | Tekst | CCIMultiLevelID | 5ba6a45a-1754-4dc1-9a10-2ec3e182b585 | Instance | Identity Data | Common | Text | ●
| Inaktiv |  | Sammensat type-ID | Udfyldes jf. IKT-klassifikation og identifikation | [34 empty] | ● | ● |  |  | Fagmodel |  | Forekomst | Tekst | CCIMultiLevelTypeID | 2cb113e2-b7f6-4309-87ba-683ffa03939c | Instance | Identity Data | Common | Text | ●
● Ejerskab (ejer det enkelte egenskab)
● Tilgængelig (det enkelte egenskab skal være tilgængelig i)

## dRootsUdtræk (hidden)
GUID | Parameter Name | Discipline | Type of Parameter | Group | Instance/Type | Categories
5e8d3880-3d40-410c-b0be-7e0ce00851a1 | ABDL | Common | Yes/No | IFC Parameters | Instance | Doors
65631e2c-85cc-440b-a1c6-3990070ea721 | ABDÅ | Common | Yes/No | IFC Parameters | Instance | Doors
3753f8aa-9227-4ff3-bdb2-c9964592719f | AccessControl | Common | Yes/No | IFC Parameters | Instance | Doors
518e4ec2-4319-4442-a7d5-ae4ed8266eab | AreaCategory | Common | Text | General | Instance | Rooms
75245903-7bd8-41ab-a00c-16d1e9fd0470 | ArticleName[Type] | Common | Text | Identity Data | Type | Casework Communication Devices Data Devices Electrical Equipment Electrical Fixtures Fire Alarm Devices Furniture Furniture Systems Lighting Devices Lighting Fixtures Mechanical Equipment Mechanical Equipment Sets Nurse Call Devices Plumbing Fixtures Security Devices Specialty Equipment Switch System Telephone Devices
729c0816-cbd2-4a24-8c7e-222914fba5ea | ArticleNumber[Type] | Common | Text | Identity Data | Type | Casework Communication Devices Data Devices Electrical Equipment Electrical Fixtures Fire Alarm Devices Furniture Furniture Systems Lighting Devices Lighting Fixtures Mechanical Equipment Mechanical Equipment Sets Nurse Call Devices Plumbing Fixtures Security Devices Specialty Equipment Switch System Telephone Devices
3d9f321f-697d-448d-80cf-ca8de03d5913 | BuildingNumber | Common | Text | Identity Data | Instance | Abutments Abutments ¦ Abutment Foundations Abutments ¦ Abutment Piles Abutments ¦ Abutment Walls Abutments ¦ Approach Slabs Air Systems Air Terminals Bearings Bridge Cables Bridge Decks Bridge Framing Cable Tray Fittings Cable Tray Runs Cable Trays Casework Ceilings Columns Communication Devices Conduit Fittings Conduit Runs Conduits Curtain Panels Curtain Systems Curtain Wall Mullions Data Devices Doors Duct Accessories Duct Fittings Duct Insulations Duct Linings Duct Placeholders Ducts Electrical Circuits Electrical Equipment Electrical Fixtures Entourage Expansion Joints Fire Alarm Devices Flex Ducts Flex Pipes Floors Floors ¦ Slab Edges Furniture Furniture Systems Lighting Devices Lighting Fixtures Mechanical Equipment Mechanical Equipment Sets Nurse Call Devices Parking Piers Piers ¦ Pier Caps Piers ¦ Pier Columns Piers ¦ Pier Foundations Piers ¦ Pier Piles Piers ¦ Pier Towers Piers ¦ Pier Walls Pipe Accessories Pipe Fittings Pipe Insulations Pipe Placeholders Pipes Planting Plumbing Fixtures Project Information Railings Railings ¦ Handrails Railings ¦ Supports Railings ¦ Terminations Railings ¦ Top Rails Ramps Rebar Shape Roads Roofs Roofs ¦ Fascias Roofs ¦ Gutters Roofs ¦ Roof Soffits Rooms Security Devices Shaft Openings Site Site ¦ Pads Spaces Specialty Equipment Sprinklers Stairs Stairs ¦ Landings Stairs ¦ Runs Structural Columns Structural Connections Structural Connections ¦ Anchors Structural Connections ¦ Bolts Structural Connections ¦ Holes Structural Connections ¦ Modifiers Structural Connections ¦ Others Structural Connections ¦ Plates Structural Connections ¦ Profiles Structural Connections ¦ Shear Studs Structural Connections ¦ Welds Structural Foundations Structural Framing Structural Stiffeners Structural Tendons Structural Trusses Topography Walls Walls ¦ Wall Sweeps Water Loops Windows Wires Zone Equipment
fbd553d2-d080-43fc-9710-f87bbf20cf28 | BuildingType | Common | Text | Identity Data | Instance | Project Information
d9572b84-1e49-40e3-8599-0c3be1ea8178 | CCIActualUseClassCode | Common | Text | Identity Data | Instance | Rooms
599293aa-55d6-4d5e-8012-a5000a5926d7 | CCIActualUseName | Common | Text | Identity Data | Instance | Rooms
0f6ba6d8-6845-4c6b-abd8-c60f4dd579e9 | CCIClassCode | Common | Text | Identity Data | Instance | Rooms
6d549196-15ec-4f3b-8b66-6adecb853720 | CCIClassCode[Type] | Common | Text | Identity Data | Type | Abutments Abutments ¦ Abutment Foundations Abutments ¦ Abutment Piles Abutments ¦ Abutment Walls Abutments ¦ Approach Slabs Air Systems Air Terminals Bearings Bridge Cables Bridge Decks Bridge Framing Bridge Framing ¦ Arches Bridge Framing ¦ Cross Bracing Bridge Framing ¦ Diaphragms Bridge Framing ¦ Girders Bridge Framing ¦ Trusses Cable Tray Fittings Cable Tray Runs Cable Trays Casework Ceilings Columns Communication Devices Conduit Fittings Conduit Runs Conduits Curtain Panels Curtain Systems Curtain Wall Mullions Data Devices Doors Duct Accessories Duct Fittings Duct Insulations Ducts Electrical Circuits Electrical Equipment Electrical Fixtures Fire Alarm Devices Flex Ducts Flex Pipes Floors Furniture Furniture Systems Lighting Devices Lighting Fixtures Mechanical Equipment Mechanical Equipment Sets Nurse Call Devices Piers Piers ¦ Pier Caps Piers ¦ Pier Columns Piers ¦ Pier Foundations Piers ¦ Pier Piles Piers ¦ Pier Towers Piers ¦ Pier Walls Pipe Accessories Pipe Fittings Pipe Insulations Pipes Planting Plumbing Fixtures Project Information Railings Railings ¦ Handrails Railings ¦ Supports Railings ¦ Terminations Railings ¦ Top Rails Ramps Roofs Roofs ¦ Fascias Roofs ¦ Gutters Roofs ¦ Roof Soffits Security Devices Site Site ¦ Pads Specialty Equipment Sprinklers Stairs Stairs ¦ Landings Stairs ¦ Runs Structural Columns Structural Connections Structural Foundations Structural Framing Structural Stiffeners Structural Tendons Structural Trusses Switch System Telephone Devices Topography Walls Walls ¦ Wall Sweeps Water Loops Windows
686ca9bc-63a9-4c41-8378-c56c6069b8a9 | CCIClassCodeVersion | Common | Text | Identity Data | Instance | Rooms
0fea5796-4f69-44dc-a4b9-72342154803f | CCIClassCodeVersion[Type] | Common | Text | Identity Data | Type | Abutments Abutments ¦ Abutment Foundations Abutments ¦ Abutment Piles Abutments ¦ Abutment Walls Abutments ¦ Approach Slabs Air Systems Air Terminals Bearings Bridge Cables Bridge Decks Bridge Framing Bridge Framing ¦ Arches Bridge Framing ¦ Cross Bracing Bridge Framing ¦ Diaphragms Bridge Framing ¦ Girders Bridge Framing ¦ Trusses Cable Tray Fittings Cable Tray Runs Cable Trays Casework Ceilings Columns Communication Devices Conduit Fittings Conduit Runs Conduits Curtain Panels Curtain Systems Curtain Wall Mullions Data Devices Doors Duct Accessories Duct Fittings Duct Insulations Ducts Electrical Circuits Electrical Equipment Electrical Fixtures Fire Alarm Devices Flex Ducts Flex Pipes Floors Furniture Furniture Systems Lighting Devices Lighting Fixtures Mechanical Equipment Mechanical Equipment Sets Nurse Call Devices Piers Piers ¦ Pier Caps Piers ¦ Pier Columns Piers ¦ Pier Foundations Piers ¦ Pier Piles Piers ¦ Pier Towers Piers ¦ Pier Walls Pipe Accessories Pipe Fittings Pipe Insulations Pipes Planting Plumbing Fixtures Project Information Railings Railings ¦ Handrails Railings ¦ Supports Railings ¦ Terminations Railings ¦ Top Rails Ramps Roofs Roofs ¦ Fascias Roofs ¦ Gutters Roofs ¦ Roof Soffits Security Devices Site Site ¦ Pads Specialty Equipment Sprinklers Stairs Stairs ¦ Landings Stairs ¦ Runs Structural Columns Structural Connections Structural Foundations Structural Framing Structural Stiffeners Structural Tendons Structural Trusses Switch System Telephone Devices Topography Walls Walls ¦ Wall Sweeps Water Loops Windows
e247fa6f-6807-4b33-883a-9ee43456f181 | CCIClassification | Common | Text | IFC Parameters | Instance | Rooms
7551964b-5d10-4afd-8417-1c8ce4d33f72 | CCIClassification[Type] | Common | Text | IFC Parameters | Type | Abutments Abutments ¦ Abutment Foundations Abutments ¦ Abutment Piles Abutments ¦ Abutment Walls Abutments ¦ Approach Slabs Air Systems Air Terminals Bearings Bridge Cables Bridge Decks Bridge Framing Bridge Framing ¦ Arches Bridge Framing ¦ Cross Bracing Bridge Framing ¦ Diaphragms Bridge Framing ¦ Girders Bridge Framing ¦ Trusses Cable Tray Fittings Cable Tray Runs Cable Trays Casework Ceilings Columns Communication Devices Conduit Fittings Conduit Runs Conduits Curtain Panels Curtain Systems Curtain Wall Mullions Data Devices Doors Duct Accessories Duct Fittings Duct Insulations Ducts Electrical Circuits Electrical Equipment Electrical Fixtures Fire Alarm Devices Flex Ducts Flex Pipes Floors Furniture Furniture Systems Lighting Devices Lighting Fixtures Mechanical Equipment Mechanical Equipment Sets Nurse Call Devices Piers Piers ¦ Pier Caps Piers ¦ Pier Columns Piers ¦ Pier Foundations Piers ¦ Pier Piles Piers ¦ Pier Towers Piers ¦ Pier Walls Pipe Accessories Pipe Fittings Pipe Insulations Pipes Planting Plumbing Fixtures Project Information Railings Railings ¦ Handrails Railings ¦ Supports Railings ¦ Terminations Railings ¦ Top Rails Ramps Roofs Roofs ¦ Fascias Roofs ¦ Gutters Roofs ¦ Roof Soffits Security Devices Site Site ¦ Pads Specialty Equipment Sprinklers Stairs Stairs ¦ Landings Stairs ¦ Runs Structural Columns Structural Connections Structural Foundations Structural Framing Structural Stiffeners Structural Tendons Structural Trusses Switch System Telephone Devices Topography Walls Walls ¦ Wall Sweeps Water Loops Windows
57f774c2-2d4c-4ab7-94d1-f0373ec813e5 | CCIClassName | Common | Text | Identity Data | Instance | Rooms
21c6c521-38d7-4f1d-9393-444cb86f317f | CCIClassName[Type] | Common | Text | Identity Data | Type | Abutments Abutments ¦ Abutment Foundations Abutments ¦ Abutment Piles Abutments ¦ Abutment Walls Abutments ¦ Approach Slabs Air Systems Air Terminals Bearings Bridge Cables Bridge Decks Bridge Framing Bridge Framing ¦ Arches Bridge Framing ¦ Cross Bracing Bridge Framing ¦ Diaphragms Bridge Framing ¦ Girders Bridge Framing ¦ Trusses Cable Tray Fittings Cable Tray Runs Cable Trays Casework Ceilings Columns Communication Devices Conduit Fittings Conduit Runs Conduits Curtain Panels Curtain Systems Curtain Wall Mullions Data Devices Doors Duct Accessories Duct Fittings Duct Insulations Ducts Electrical Circuits Electrical Equipment Electrical Fixtures Fire Alarm Devices Flex Ducts Flex Pipes Floors Furniture Furniture Systems Lighting Devices Lighting Fixtures Mechanical Equipment Mechanical Equipment Sets Nurse Call Devices Piers Piers ¦ Pier Caps Piers ¦ Pier Columns Piers ¦ Pier Foundations Piers ¦ Pier Piles Piers ¦ Pier Towers Piers ¦ Pier Walls Pipe Accessories Pipe Fittings Pipe Insulations Pipes Planting Plumbing Fixtures Project Information Railings Railings ¦ Handrails Railings ¦ Supports Railings ¦ Terminations Railings ¦ Top Rails Ramps Roofs Roofs ¦ Fascias Roofs ¦ Gutters Roofs ¦ Roof Soffits Security Devices Site Site ¦ Pads Specialty Equipment Sprinklers Stairs Stairs ¦ Landings Stairs ¦ Runs Structural Columns Structural Connections Structural Foundations Structural Framing Structural Stiffeners Structural Tendons Structural Trusses Switch System Telephone Devices Topography Walls Walls ¦ Wall Sweeps Water Loops Windows
77c57b09-eb63-4d6f-bf77-a219a6d85868 | CCIDesignedUseClassCode | Common | Text | Identity Data | Instance | Rooms
90031824-e6cb-4819-be83-d7b395775f6f | CCIDesignedUseName | Common | Text | Identity Data | Instance | Rooms
213ef49a-9a4a-4de2-b6d3-26946cfa624d | CCIMainTypeID | Common | Text | Identity Data | Instance | Rooms
ae3ca671-5aa2-480b-b382-12797668c94a | CCIMainTypeID[Type] | Common | Text | Identity Data | Type | Abutments Abutments ¦ Abutment Foundations Abutments ¦ Abutment Piles Abutments ¦ Abutment Walls Abutments ¦ Approach Slabs Air Systems Air Terminals Bearings Bridge Cables Bridge Decks Bridge Framing Bridge Framing ¦ Arches Bridge Framing ¦ Cross Bracing Bridge Framing ¦ Diaphragms Bridge Framing ¦ Girders Bridge Framing ¦ Trusses Cable Tray Fittings Cable Tray Runs Cable Trays Casework Ceilings Columns Communication Devices Conduit Fittings Conduit Runs Conduits Curtain Panels Curtain Systems Curtain Wall Mullions Data Devices Doors Duct Accessories Duct Fittings Duct Insulations Ducts Electrical Circuits Electrical Equipment Electrical Fixtures Fire Alarm Devices Flex Ducts Flex Pipes Floors Furniture Furniture Systems Lighting Devices Lighting Fixtures Mechanical Equipment Mechanical Equipment Sets Nurse Call Devices Piers Piers ¦ Pier Caps Piers ¦ Pier Columns Piers ¦ Pier Foundations Piers ¦ Pier Piles Piers ¦ Pier Towers Piers ¦ Pier Walls Pipe Accessories Pipe Fittings Pipe Insulations Pipes Planting Plumbing Fixtures Project Information Railings Railings ¦ Handrails Railings ¦ Supports Railings ¦ Terminations Railings ¦ Top Rails Ramps Roofs Roofs ¦ Fascias Roofs ¦ Gutters Roofs ¦ Roof Soffits Security Devices Site Site ¦ Pads Specialty Equipment Sprinklers Stairs Stairs ¦ Landings Stairs ¦ Runs Structural Columns Structural Connections Structural Foundations Structural Framing Structural Stiffeners Structural Tendons Structural Trusses Switch System Telephone Devices Topography Walls Walls ¦ Wall Sweeps Water Loops Windows
1e209e64-ab7c-4131-8560-3fbc9b87ff9c | CCIMainTypeName | Common | Text | Identity Data | Instance | Rooms
146eb105-4308-410c-8dae-c87fcc337bd3 | CCIMainTypeName[Type] | Common | Text | Identity Data | Type | Abutments Abutments ¦ Abutment Foundations Abutments ¦ Abutment Piles Abutments ¦ Abutment Walls Abutments ¦ Approach Slabs Air Systems Air Terminals Bearings Bridge Cables Bridge Decks Bridge Framing Bridge Framing ¦ Arches Bridge Framing ¦ Cross Bracing Bridge Framing ¦ Diaphragms Bridge Framing ¦ Girders Bridge Framing ¦ Trusses Cable Tray Fittings Cable Tray Runs Cable Trays Casework Ceilings Columns Communication Devices Conduit Fittings Conduit Runs Conduits Curtain Panels Curtain Systems Curtain Wall Mullions Data Devices Doors Duct Accessories Duct Fittings Duct Insulations Ducts Electrical Circuits Electrical Equipment Electrical Fixtures Fire Alarm Devices Flex Ducts Flex Pipes Floors Furniture Furniture Systems Lighting Devices Lighting Fixtures Mechanical Equipment Mechanical Equipment Sets Nurse Call Devices Piers Piers ¦ Pier Caps Piers ¦ Pier Columns Piers ¦ Pier Foundations Piers ¦ Pier Piles Piers ¦ Pier Towers Piers ¦ Pier Walls Pipe Accessories Pipe Fittings Pipe Insulations Pipes Planting Plumbing Fixtures Project Information Railings Railings ¦ Handrails Railings ¦ Supports Railings ¦ Terminations Railings ¦ Top Rails Ramps Roofs Roofs ¦ Fascias Roofs ¦ Gutters Roofs ¦ Roof Soffits Security Devices Site Site ¦ Pads Specialty Equipment Sprinklers Stairs Stairs ¦ Landings Stairs ¦ Runs Structural Columns Structural Connections Structural Foundations Structural Framing Structural Stiffeners Structural Tendons Structural Trusses Switch System Telephone Devices Topography Walls Walls ¦ Wall Sweeps Water Loops Windows
0a80afbb-1079-47bb-8a65-94a3442ffd4f | CCISingleLevelID | Common | Text | Identity Data | Instance | Abutments Abutments ¦ Abutment Foundations Abutments ¦ Abutment Piles Abutments ¦ Abutment Walls Abutments ¦ Approach Slabs Air Systems Air Terminals Bearings Bridge Cables Bridge Decks Bridge Framing Bridge Framing ¦ Arches Bridge Framing ¦ Cross Bracing Bridge Framing ¦ Diaphragms Bridge Framing ¦ Girders Bridge Framing ¦ Trusses Cable Tray Fittings Cable Tray Runs Cable Trays Casework Ceilings Columns Communication Devices Conduit Fittings Conduit Runs Conduits Curtain Panels Curtain Systems Curtain Wall Mullions Data Devices Doors Duct Accessories Duct Fittings Duct Insulations Ducts Electrical Circuits Electrical Equipment Electrical Fixtures Fire Alarm Devices Flex Ducts Flex Pipes Floors Furniture Furniture Systems Lighting Devices Lighting Fixtures Mechanical Equipment Mechanical Equipment Sets Nurse Call Devices Piers Piers ¦ Pier Caps Piers ¦ Pier Columns Piers ¦ Pier Foundations Piers ¦ Pier Piles Piers ¦ Pier Towers Piers ¦ Pier Walls Pipe Accessories Pipe Fittings Pipe Insulations Pipes Planting Plumbing Fixtures Railings Railings ¦ Handrails Railings ¦ Supports Railings ¦ Terminations Railings ¦ Top Rails Ramps Roofs Roofs ¦ Fascias Roofs ¦ Gutters Roofs ¦ Roof Soffits Rooms Security Devices Site Site ¦ Pads Specialty Equipment Sprinklers Stairs Stairs ¦ Landings Stairs ¦ Runs Structural Columns Structural Connections Structural Foundations Structural Framing Structural Stiffeners Structural Tendons Structural Trusses Switch System Telephone Devices Topography Walls Walls ¦ Wall Sweeps Water Loops Windows
3e10a399-bede-4207-9852-eca0b3099d58 | CCISubTypeID | Common | Text | Identity Data | Instance | Rooms
3d3e2412-1370-4566-82f5-1d03e912683c | CCISubTypeID[Type] | Common | Text | Identity Data | Type | Abutments Abutments ¦ Abutment Foundations Abutments ¦ Abutment Piles Abutments ¦ Abutment Walls Abutments ¦ Approach Slabs Air Systems Air Terminals Bearings Bridge Cables Bridge Decks Bridge Framing Bridge Framing ¦ Arches Bridge Framing ¦ Cross Bracing Bridge Framing ¦ Diaphragms Bridge Framing ¦ Girders Bridge Framing ¦ Trusses Cable Tray Fittings Cable Tray Runs Cable Trays Casework Ceilings Columns Communication Devices Conduit Fittings Conduit Runs Conduits Curtain Panels Curtain Systems Curtain Wall Mullions Data Devices Doors Duct Accessories Duct Fittings Duct Insulations Ducts Electrical Circuits Electrical Equipment Electrical Fixtures Fire Alarm Devices Flex Ducts Flex Pipes Floors Furniture Furniture Systems Lighting Devices Lighting Fixtures Mechanical Equipment Mechanical Equipment Sets Nurse Call Devices Piers Piers ¦ Pier Caps Piers ¦ Pier Columns Piers ¦ Pier Foundations Piers ¦ Pier Piles Piers ¦ Pier Towers Piers ¦ Pier Walls Pipe Accessories Pipe Fittings Pipe Insulations Pipes Planting Plumbing Fixtures Project Information Railings Railings ¦ Handrails Railings ¦ Supports Railings ¦ Terminations Railings ¦ Top Rails Ramps Roofs Roofs ¦ Fascias Roofs ¦ Gutters Roofs ¦ Roof Soffits Security Devices Site Site ¦ Pads Specialty Equipment Sprinklers Stairs Stairs ¦ Landings Stairs ¦ Runs Structural Columns Structural Connections Structural Foundations Structural Framing Structural Stiffeners Structural Tendons Structural Trusses Switch System Telephone Devices Topography Walls Walls ¦ Wall Sweeps Water Loops Windows
60209066-6fab-48f7-83cb-73ec1474fe1e | CCISubTypeName | Common | Text | Identity Data | Instance | Rooms
960cadb7-677b-4921-80cc-9a1dba4ea2c7 | CCISubTypeName[Type] | Common | Text | Identity Data | Type | Abutments Abutments ¦ Abutment Foundations Abutments ¦ Abutment Piles Abutments ¦ Abutment Walls Abutments ¦ Approach Slabs Air Systems Air Terminals Bearings Bridge Cables Bridge Decks Bridge Framing Bridge Framing ¦ Arches Bridge Framing ¦ Cross Bracing Bridge Framing ¦ Diaphragms Bridge Framing ¦ Girders Bridge Framing ¦ Trusses Cable Tray Fittings Cable Tray Runs Cable Trays Casework Ceilings Columns Communication Devices Conduit Fittings Conduit Runs Conduits Curtain Panels Curtain Systems Curtain Wall Mullions Data Devices Doors Duct Accessories Duct Fittings Duct Insulations Ducts Electrical Circuits Electrical Equipment Electrical Fixtures Fire Alarm Devices Flex Ducts Flex Pipes Floors Furniture Furniture Systems Lighting Devices Lighting Fixtures Mechanical Equipment Mechanical Equipment Sets Nurse Call Devices Piers Piers ¦ Pier Caps Piers ¦ Pier Columns Piers ¦ Pier Foundations Piers ¦ Pier Piles Piers ¦ Pier Towers Piers ¦ Pier Walls Pipe Accessories Pipe Fittings Pipe Insulations Pipes Planting Plumbing Fixtures Project Information Railings Railings ¦ Handrails Railings ¦ Supports Railings ¦ Terminations Railings ¦ Top Rails Ramps Roofs Roofs ¦ Fascias Roofs ¦ Gutters Roofs ¦ Roof Soffits Security Devices Site Site ¦ Pads Specialty Equipment Sprinklers Stairs Stairs ¦ Landings Stairs ¦ Runs Structural Columns Structural Connections Structural Foundations Structural Framing Structural Stiffeners Structural Tendons Structural Trusses Switch System Telephone Devices Topography Walls Walls ¦ Wall Sweeps Water Loops Windows
0cf3bdf3-f0e2-4904-af36-5ee007122381 | CCITopnode | Common | Text | Identity Data | Instance | Rooms
7c094af8-b727-470e-afba-24c73ffe49c7 | CCITopnode[Type] | Common | Text | Identity Data | Type | Abutments Abutments ¦ Abutment Foundations Abutments ¦ Abutment Piles Abutments ¦ Abutment Walls Abutments ¦ Approach Slabs Air Systems Air Terminals Bearings Bridge Cables Bridge Decks Bridge Framing Bridge Framing ¦ Arches Bridge Framing ¦ Cross Bracing Bridge Framing ¦ Diaphragms Bridge Framing ¦ Girders Bridge Framing ¦ Trusses Cable Tray Fittings Cable Tray Runs Cable Trays Casework Ceilings Columns Communication Devices Conduit Fittings Conduit Runs Conduits Curtain Panels Curtain Systems Curtain Wall Mullions Data Devices Doors Duct Accessories Duct Fittings Duct Insulations Ducts Electrical Circuits Electrical Equipment Electrical Fixtures Fire Alarm Devices Flex Ducts Flex Pipes Floors Furniture Furniture Systems Lighting Devices Lighting Fixtures Mechanical Equipment Mechanical Equipment Sets Nurse Call Devices Piers Piers ¦ Pier Caps Piers ¦ Pier Columns Piers ¦ Pier Foundations Piers ¦ Pier Piles Piers ¦ Pier Towers Piers ¦ Pier Walls Pipe Accessories Pipe Fittings Pipe Insulations Pipes Planting Plumbing Fixtures Project Information Railings Railings ¦ Handrails Railings ¦ Supports Railings ¦ Terminations Railings ¦ Top Rails Ramps Roofs Roofs ¦ Fascias Roofs ¦ Gutters Roofs ¦ Roof Soffits Security Devices Site Site ¦ Pads Specialty Equipment Sprinklers Stairs Stairs ¦ Landings Stairs ¦ Runs Structural Columns Structural Connections Structural Foundations Structural Framing Structural Stiffeners Structural Tendons Structural Trusses Switch System Telephone Devices Topography Walls Walls ¦ Wall Sweeps Water Loops Windows
894147ea-6ebe-4361-b732-680bce908ade | CCITypeID | Common | Text | Identity Data | Instance | Rooms
39a6cda6-b574-4424-8a83-558298a7dff8 | CCITypeID[Type] | Common | Text | Identity Data | Type | Abutments Abutments ¦ Abutment Foundations Abutments ¦ Abutment Piles Abutments ¦ Abutment Walls Abutments ¦ Approach Slabs Air Systems Air Terminals Bearings Bridge Cables Bridge Decks Bridge Framing Bridge Framing ¦ Arches Bridge Framing ¦ Cross Bracing Bridge Framing ¦ Diaphragms Bridge Framing ¦ Girders Bridge Framing ¦ Trusses Cable Tray Fittings Cable Tray Runs Cable Trays Casework Ceilings Columns Communication Devices Conduit Fittings Conduit Runs Conduits Curtain Panels Curtain Systems Curtain Wall Mullions Data Devices Doors Duct Accessories Duct Fittings Duct Insulations Ducts Electrical Circuits Electrical Equipment Electrical Fixtures Fire Alarm Devices Flex Ducts Flex Pipes Floors Furniture Furniture Systems Lighting Devices Lighting Fixtures Mechanical Equipment Mechanical Equipment Sets Nurse Call Devices Piers Piers ¦ Pier Caps Piers ¦ Pier Columns Piers ¦ Pier Foundations Piers ¦ Pier Piles Piers ¦ Pier Towers Piers ¦ Pier Walls Pipe Accessories Pipe Fittings Pipe Insulations Pipes Planting Plumbing Fixtures Project Information Railings Railings ¦ Handrails Railings ¦ Supports Railings ¦ Terminations Railings ¦ Top Rails Ramps Roofs Roofs ¦ Fascias Roofs ¦ Gutters Roofs ¦ Roof Soffits Security Devices Site Site ¦ Pads Specialty Equipment Sprinklers Stairs Stairs ¦ Landings Stairs ¦ Runs Structural Columns Structural Connections Structural Foundations Structural Framing Structural Stiffeners Structural Tendons Structural Trusses Switch System Telephone Devices Topography Walls Walls ¦ Wall Sweeps Water Loops Windows
2b31d3e9-673f-4caf-9d2f-6e89632758dc | CCITypeName | Common | Text | Identity Data | Instance | Rooms
e3fdc619-cbb2-4b42-a819-63fb185aa4cf | CCITypeName[Type] | Common | Text | Identity Data | Type | Abutments Abutments ¦ Abutment Foundations Abutments ¦ Abutment Piles Abutments ¦ Abutment Walls Abutments ¦ Approach Slabs Air Systems Air Terminals Bearings Bridge Cables Bridge Decks Bridge Framing Bridge Framing ¦ Arches Bridge Framing ¦ Cross Bracing Bridge Framing ¦ Diaphragms Bridge Framing ¦ Girders Bridge Framing ¦ Trusses Cable Tray Fittings Cable Tray Runs Cable Trays Casework Ceilings Columns Communication Devices Conduit Fittings Conduit Runs Conduits Curtain Panels Curtain Systems Curtain Wall Mullions Data Devices Doors Duct Accessories Duct Fittings Duct Insulations Ducts Electrical Circuits Electrical Equipment Electrical Fixtures Fire Alarm Devices Flex Ducts Flex Pipes Floors Furniture Furniture Systems Lighting Devices Lighting Fixtures Mechanical Equipment Mechanical Equipment Sets Nurse Call Devices Piers Piers ¦ Pier Caps Piers ¦ Pier Columns Piers ¦ Pier Foundations Piers ¦ Pier Piles Piers ¦ Pier Towers Piers ¦ Pier Walls Pipe Accessories Pipe Fittings Pipe Insulations Pipes Planting Plumbing Fixtures Project Information Railings Railings ¦ Handrails Railings ¦ Supports Railings ¦ Terminations Railings ¦ Top Rails Ramps Roofs Roofs ¦ Fascias Roofs ¦ Gutters Roofs ¦ Roof Soffits Security Devices Site Site ¦ Pads Specialty Equipment Sprinklers Stairs Stairs ¦ Landings Stairs ¦ Runs Structural Columns Structural Connections Structural Foundations Structural Framing Structural Stiffeners Structural Tendons Structural Trusses Switch System Telephone Devices Topography Walls Walls ¦ Wall Sweeps Water Loops Windows
1e9983d0-fefb-4849-8742-634a34ad99ea | Combustible[Type] | Common | Yes/No | IFC Parameters | Type | Ceilings Curtain Systems Doors Floors Ramps Roofs Stairs Structural Columns Structural Framing Structural Trusses Walls Windows
cfc89200-d215-11e1-8000-00215ad4efdf | Combustible_Req | Common | Yes/No | IFC Parameters | Instance | Ceilings Curtain Systems Doors Floors Ramps Roofs Stairs Structural Columns Structural Framing Structural Trusses Walls Windows
454282c6-76a2-4869-8161-febb3fa11cff | Compartmentation[Type] | Common | Yes/No | IFC Parameters | Type | Ceilings Curtain Systems Doors Floors Ramps Roofs Stairs Structural Columns Structural Framing Structural Trusses Walls Windows
f981b900-d215-11e1-8000-00215ad4efdf | Compartmentation_Req | Common | Yes/No | IFC Parameters | Instance | Ceilings Curtain Systems Doors Floors Ramps Roofs Stairs Structural Columns Structural Framing Structural Trusses Walls Windows
8ef51de5-26f1-4874-86df-289ad474d9bc | ConstructionSite | Common | Text | Model Properties | Instance | Abutments Abutments ¦ Abutment Foundations Abutments ¦ Abutment Piles Abutments ¦ Abutment Walls Abutments ¦ Approach Slabs Air Systems Air Terminals Bearings Bridge Cables Bridge Decks Bridge Framing Cable Tray Fittings Cable Tray Runs Cable Trays Casework Ceilings Columns Communication Devices Conduit Fittings Conduit Runs Conduits Curtain Panels Curtain Systems Curtain Wall Mullions Data Devices Doors Duct Accessories Duct Fittings Duct Insulations Duct Linings Duct Placeholders Ducts Electrical Circuits Electrical Equipment Electrical Fixtures Entourage Expansion Joints Fire Alarm Devices Flex Ducts Flex Pipes Floors Floors ¦ Slab Edges Furniture Furniture Systems Lighting Devices Lighting Fixtures Mechanical Equipment Mechanical Equipment Sets Nurse Call Devices Parking Piers Piers ¦ Pier Caps Piers ¦ Pier Columns Piers ¦ Pier Foundations Piers ¦ Pier Piles Piers ¦ Pier Towers Piers ¦ Pier Walls Pipe Accessories Pipe Fittings Pipe Insulations Pipe Placeholders Pipes Planting Plumbing Fixtures Railings Railings ¦ Handrails Railings ¦ Supports Railings ¦ Terminations Railings ¦ Top Rails Ramps Rebar Shape Roads Roofs Roofs ¦ Fascias Roofs ¦ Gutters Roofs ¦ Roof Soffits Rooms Security Devices Shaft Openings Site Site ¦ Pads Spaces Specialty Equipment Sprinklers Stairs Stairs ¦ Landings Stairs ¦ Runs Structural Columns Structural Connections Structural Connections ¦ Anchors Structural Connections ¦ Bolts Structural Connections ¦ Holes Structural Connections ¦ Modifiers Structural Connections ¦ Others Structural Connections ¦ Plates Structural Connections ¦ Profiles Structural Connections ¦ Shear Studs Structural Connections ¦ Welds Structural Foundations Structural Framing Structural Stiffeners Structural Tendons Structural Trusses Topography Walls Walls ¦ Wall Sweeps Water Loops Windows Wires Zone Equipment
159bfcd1-3700-445c-9324-8580138d113e | ConstructionSiteZone | Common | Text | Model Properties | Instance | Abutments Abutments ¦ Abutment Foundations Abutments ¦ Abutment Piles Abutments ¦ Abutment Walls Abutments ¦ Approach Slabs Air Systems Air Terminals Bearings Bridge Cables Bridge Decks Bridge Framing Cable Tray Fittings Cable Tray Runs Cable Trays Casework Ceilings Columns Communication Devices Conduit Fittings Conduit Runs Conduits Curtain Panels Curtain Systems Curtain Wall Mullions Data Devices Doors Duct Accessories Duct Fittings Duct Insulations Duct Linings Duct Placeholders Ducts Electrical Circuits Electrical Equipment Electrical Fixtures Entourage Expansion Joints Fire Alarm Devices Flex Ducts Flex Pipes Floors Floors ¦ Slab Edges Furniture Furniture Systems Lighting Devices Lighting Fixtures Mechanical Equipment Mechanical Equipment Sets Nurse Call Devices Parking Piers Piers ¦ Pier Caps Piers ¦ Pier Columns Piers ¦ Pier Foundations Piers ¦ Pier Piles Piers ¦ Pier Towers Piers ¦ Pier Walls Pipe Accessories Pipe Fittings Pipe Insulations Pipe Placeholders Pipes Planting Plumbing Fixtures Railings Railings ¦ Handrails Railings ¦ Supports Railings ¦ Terminations Railings ¦ Top Rails Ramps Rebar Shape Roads Roofs Roofs ¦ Fascias Roofs ¦ Gutters Roofs ¦ Roof Soffits Rooms Security Devices Shaft Openings Site Site ¦ Pads Spaces Specialty Equipment Sprinklers Stairs Stairs ¦ Landings Stairs ¦ Runs Structural Columns Structural Connections Structural Connections ¦ Anchors Structural Connections ¦ Bolts Structural Connections ¦ Holes Structural Connections ¦ Modifiers Structural Connections ¦ Others Structural Connections ¦ Plates Structural Connections ¦ Profiles Structural Connections ¦ Shear Studs Structural Connections ¦ Welds Structural Foundations Structural Framing Structural Stiffeners Structural Tendons Structural Trusses Topography Walls Walls ¦ Wall Sweeps Water Loops Windows Wires Zone Equipment
e3d11582-93d9-4bb5-a848-7731e800a0a7 | DepartmentName | Common | Text | General | Instance | Rooms
8233dd62-af24-4b69-96a5-3a93f5fd9838 | DepartmentNumber | Common | Text | General | Instance | Rooms
9bee0bf7-2ad3-4a66-bef5-7b71b7ca175b | ExposureClass | Common | Text | IFC Parameters | Instance | Structural Columns Structural Foundations Structural Framing Structural Stiffeners Structural Trusses
005dfb00-d219-11e1-8000-00215ad4efdf | FireExit | Common | Yes/No | IFC Parameters | Instance | Doors Rooms Windows
e1804f65-2aed-4d4f-b885-09688b779399 | FireRating[Type] | Common | Text | IFC Parameters | Type | Ceilings Curtain Systems Doors Floors Ramps Roofs Stairs Structural Columns Structural Framing Structural Trusses Walls Windows
bffe7d00-d218-11e1-8000-00215ad4efdf | FireRating_Req | Common | Text | IFC Parameters | Instance | Ceilings Curtain Systems Doors Floors Ramps Roofs Stairs Structural Columns Structural Framing Structural Trusses Walls Windows
33988e00-d209-11e1-8000-00215ad4efdf | FireRiskFactor | Common | Text | IFC Parameters | Instance | Rooms
65c69e30-17a7-406f-b708-f2b7851029d0 | GeographicalRoomNumber | Common | Text | General | Instance | Rooms
e46e7912-7254-467f-ab14-35fce14121bf | GrossPlannedArea | Common | Number | General | Instance | Rooms
516def00-d219-11e1-8000-00215ad4efdf | HandicapAccessible | Common | Yes/No | IFC Parameters | Instance | Doors Rooms
29788e80-d20d-11e1-8000-00215ad4efdf | HasNonSkidSurface | Common | Yes/No | IFC Parameters | Instance | Floors
3d3573a6-d92c-43f0-8df3-a3c1c589a56b | ImpactInsulationClass[Type] | Common | Number | IFC Parameters | Type | Ceilings Curtain Systems Doors Floors Ramps Roofs Stairs Structural Columns Structural Framing Structural Trusses Walls Windows
b9a3a8f0-6739-40eb-85da-7e821c7a2f8d | ImpactInsulationClass_Req | Common | Number | IFC Parameters | Instance | Ceilings Curtain Systems Doors Floors Ramps Roofs Stairs Structural Columns Structural Framing Structural Trusses Walls Windows
28fecb30-be2a-40c6-9fb0-703be83c5e9f | IsExternal | Common | Yes/No | IFC Parameters | Instance | Abutments Abutments ¦ Abutment Foundations Abutments ¦ Abutment Piles Abutments ¦ Abutment Walls Abutments ¦ Approach Slabs Air Systems Air Terminals Bearings Bridge Cables Bridge Decks Bridge Framing Cable Tray Fittings Cable Tray Runs Cable Trays Casework Ceilings Columns Communication Devices Conduit Fittings Conduit Runs Conduits Curtain Panels Curtain Systems Curtain Wall Mullions Data Devices Doors Duct Accessories Duct Fittings Duct Insulations Duct Linings Duct Placeholders Ducts Electrical Circuits Electrical Equipment Electrical Fixtures Entourage Expansion Joints Fire Alarm Devices Flex Ducts Flex Pipes Floors Floors ¦ Slab Edges Furniture Furniture Systems Lighting Devices Lighting Fixtures Mechanical Equipment Mechanical Equipment Sets Nurse Call Devices Parking Piers Piers ¦ Pier Caps Piers ¦ Pier Columns Piers ¦ Pier Foundations Piers ¦ Pier Piles Piers ¦ Pier Towers Piers ¦ Pier Walls Pipe Accessories Pipe Fittings Pipe Insulations Pipe Placeholders Pipes Planting Plumbing Fixtures Railings Railings ¦ Handrails Railings ¦ Supports Railings ¦ Terminations Railings ¦ Top Rails Ramps Rebar Shape Roads Roofs Roofs ¦ Fascias Roofs ¦ Gutters Roofs ¦ Roof Soffits Rooms Security Devices Shaft Openings Site Site ¦ Pads Spaces Specialty Equipment Sprinklers Stairs Stairs ¦ Landings Stairs ¦ Runs Structural Columns Structural Connections Structural Connections ¦ Anchors Structural Connections ¦ Bolts Structural Connections ¦ Holes Structural Connections ¦ Modifiers Structural Connections ¦ Others Structural Connections ¦ Plates Structural Connections ¦ Profiles Structural Connections ¦ Shear Studs Structural Connections ¦ Welds Structural Foundations Structural Framing Structural Stiffeners Structural Tendons Structural Trusses Topography Walls Walls ¦ Wall Sweeps Water Loops Windows Wires Zone Equipment
1ff43f7f-0906-45e1-bbe3-ad0b769d0dae | LeadEquivalent[Type] | Common | Number | IFC Parameters | Type | Ceilings Curtain Systems Doors Floors Ramps Roofs Stairs Structural Columns Structural Framing Structural Trusses Walls Windows
f1c21480-d215-11e1-8000-00215ad4efdf | LoadBearing | Common | Yes/No | IFC Parameters | Instance | Bridge Framing Bridge Framing ¦ Arches Bridge Framing ¦ Cross Bracing Bridge Framing ¦ Diaphragms Bridge Framing ¦ Girders Bridge Framing ¦ Trusses Floors Piers Piers ¦ Pier Caps Piers ¦ Pier Columns Piers ¦ Pier Foundations Piers ¦ Pier Piles Piers ¦ Pier Towers Piers ¦ Pier Walls Ramps Roofs Stairs Stairs ¦ Landings Stairs ¦ Runs Structural Columns Structural Foundations Structural Framing Structural Stiffeners Structural Trusses Walls
70ec8e30-5115-4803-a6ff-3bee75100e53 | ModelNumber[Type] | Common | Text | Data | Type | Air Systems Air Terminals Casework Communication Devices Data Devices Doors Duct Accessories Electrical Equipment Electrical Fixtures Fire Alarm Devices Furniture Furniture Systems Lighting Devices Lighting Fixtures Mechanical Equipment Mechanical Equipment Sets Nurse Call Devices Pipe Accessories Planting Plumbing Fixtures Project Information Railings Ramps Roofs ¦ Fascias Roofs ¦ Gutters Roofs ¦ Roof Soffits Security Devices Specialty Equipment Sprinklers Stairs Switch System Telephone Devices Windows Zone Equipment
c0ec9d3b-f8f6-49b9-be1a-1a3ea965d058 | NetPlannedArea | Common | Number | General | Instance | Rooms
cf76c980-d20a-11e1-8000-00215ad4efdf | OccupancyNumber | Common | Number | General | Instance | Rooms
d4d41400-d20a-11e1-8000-00215ad4efdf | OccupancyNumberPeak | Common | Number | General | Instance | Rooms
eb413c55-57a3-46ac-8b38-b88aa2489983 | Producer[Type] | Common | Text | Data | Type | Air Systems Air Terminals Casework Communication Devices Data Devices Doors Duct Accessories Electrical Equipment Electrical Fixtures Fire Alarm Devices Furniture Furniture Systems Lighting Devices Lighting Fixtures Mechanical Equipment Mechanical Equipment Sets Nurse Call Devices Pipe Accessories Planting Plumbing Fixtures Project Information Railings Ramps Roofs ¦ Fascias Roofs ¦ Gutters Roofs ¦ Roof Soffits Security Devices Specialty Equipment Sprinklers Stairs Switch System Telephone Devices Windows Zone Equipment
52becdf7-cc45-41b5-8a1f-b054930e7457 | ProductName[Type] | Common | Text | Data | Type | Air Systems Air Terminals Casework Communication Devices Data Devices Doors Duct Accessories Electrical Equipment Electrical Fixtures Fire Alarm Devices Furniture Furniture Systems Lighting Devices Lighting Fixtures Mechanical Equipment Mechanical Equipment Sets Nurse Call Devices Pipe Accessories Planting Plumbing Fixtures Project Information Railings Ramps Roofs ¦ Fascias Roofs ¦ Gutters Roofs ¦ Roof Soffits Security Devices Specialty Equipment Sprinklers Stairs Switch System Telephone Devices Windows Zone Equipment
424e8936-52ba-48f1-9fae-c34ab87b7bee | ProductNumber[Type] | Common | Text | Data | Type | Air Systems Air Terminals Casework Communication Devices Data Devices Doors Duct Accessories Electrical Equipment Electrical Fixtures Fire Alarm Devices Furniture Furniture Systems Lighting Devices Lighting Fixtures Mechanical Equipment Mechanical Equipment Sets Nurse Call Devices Pipe Accessories Planting Plumbing Fixtures Project Information Railings Ramps Roofs ¦ Fascias Roofs ¦ Gutters Roofs ¦ Roof Soffits Security Devices Specialty Equipment Sprinklers Stairs Switch System Telephone Devices Windows Zone Equipment
4a46e100-d219-11e1-8000-00215ad4efdf | PubliclyAccessible | Common | Yes/No | IFC Parameters | Instance | Doors Rooms
b2dcbcf4-8716-49c8-97c7-ccf26a09c233 | RoomFunctionsCategory | Common | Text | General | Instance | Rooms
fe11c6cf-09fc-4497-aeea-599b61a5560b | RoomFunctionsNumber | Common | Text | General | Instance | Rooms
d0220a5f-e52a-42fe-bcff-f1c5ed19ace0 | RoomNameAbbreviation | Common | Text | General | Instance | Rooms
48b6f200-d1f4-11e1-8000-00215ad4efdf | SerialNumber | Common | Text | Data | Instance | Air Systems Air Terminals Casework Communication Devices Data Devices Doors Duct Accessories Electrical Equipment Electrical Fixtures Fire Alarm Devices Furniture Furniture Systems Lighting Devices Lighting Fixtures Mechanical Equipment Mechanical Equipment Sets Nurse Call Devices Pipe Accessories Planting Plumbing Fixtures Railings Ramps Roofs ¦ Fascias Roofs ¦ Gutters Roofs ¦ Roof Soffits Security Devices Specialty Equipment Sprinklers Stairs Switch System Telephone Devices Windows Zone Equipment
f9cf8380-d218-11e1-8000-00215ad4efdf | SmokeStop | Common | Yes/No | IFC Parameters | Instance | Ceilings Curtain Systems Doors Floors Ramps Roofs Stairs Walls Windows
f26f303a-af5a-4ec6-9460-731b574c5d14 | SoundTransmissionClass[Type] | Common | Number | IFC Parameters | Type | Ceilings Curtain Systems Doors Floors Ramps Roofs Stairs Structural Columns Structural Framing Structural Trusses Walls Windows
5cd61e04-b969-4fc1-ad13-65a9e136c46a | SoundTransmissionClass_Req | Common | Number | IFC Parameters | Instance | Ceilings Curtain Systems Doors Floors Ramps Roofs Stairs Structural Columns Structural Framing Structural Trusses Walls Windows
84899180-d1cb-11e1-8000-00215ad4efdf | StructuralClass | Common | Text | IFC Parameters | Instance | Structural Columns Structural Connections Structural Connections ¦ Anchors Structural Connections ¦ Bolts Structural Connections ¦ Plates Structural Connections ¦ Profiles Structural Connections ¦ Shear Studs Structural Connections ¦ Welds Structural Fabric Reinforcement Structural Fabric Reinforcement ¦ Fabric Wire Structural Foundations Structural Framing Structural Path Reinforcement Structural Rebar Structural Rebar Couplers Structural Stiffeners Structural Trusses
2c7184d9-f956-4d54-8895-bd8a752430aa | SurfaceSpreadOfFlame[Type] | Common | Text | IFC Parameters | Type | Ceilings Curtain Systems Doors Floors Ramps Roofs Stairs Structural Columns Structural Framing Structural Trusses Walls Windows
d6570980-d215-11e1-8000-00215ad4efdf | SurfaceSpreadOfFlame_Req | Common | Text | IFC Parameters | Instance | Ceilings Curtain Systems Doors Floors Ramps Roofs Stairs Structural Columns Structural Framing Structural Trusses Walls Windows
6ba0ebbb-d425-4bae-a013-152f44bb527a | SystemKeyNumber | Common | Text | Data | Instance | Doors
017b73a5-5115-4e54-807d-1909ec7bb263 | ThermalTransmittance[Type] | Energy | Thermal Resistance | IFC Parameters | Type | Ceilings Curtain Systems Doors Floors Ramps Roofs Stairs Structural Columns Structural Framing Structural Trusses Walls Windows
d86e9780-d218-11e1-8000-00215ad4efdf | ThermalTransmittance_Req | Energy | Thermal Resistance | IFC Parameters | Instance | Ceilings Curtain Systems Doors Floors Ramps Roofs Stairs Structural Columns Structural Framing Structural Trusses Walls Windows